How to upgrade camera Camera and PTZ control board  firmware

1,install Camera search tool software: AjDevTools_V5.8.4_20240516

2, After successful installation, run the search tool. As shown in the following figure

3, Taking camera 192.168.77.18 .Upgrade PTZ Speed dome Firmware:

And click on ”open”button

And click the "Upload config" button, the upload is successful. After waiting for 15 to 20 seconds, the PTZ control board firmware version will be automatically updated. As shown in the following figure: